## ACDB
LOT 2: GUARANTEED TECHNICAL PARTICULARS
ACDB
SL# | Description | Unit | To be filled up by Bidders
1 | Name of Manufacturer and country
2 | Applicable standards
3 | Type of mounting
2 | Rated voltage, Phase and Frequency | V, Ph, HZ
3 | Type of switchboard (brief Description)
4 | One minute Power Frequency withstand voltage
a) | Power circuit | kV (rms)
b) | Control circuit | kV (rms)
5 | Continuous current rating of busbars under design ambient of 30 degree celcius | Amps
6 | Short circuit withstand for busbars and droppers (1 sec) | kA
7 | Max. temperature of busbars, droper and contacts at continuous current rating over design ambient temperature of 40 degree Celsius | Deg. Celsius
8 | Thickness of sheet steel in mm cold rolled (frame/Enclosure/Covers) | mm
9 | Degree of protection of enclosure | -
10 | Type of paint
11 | Finish colour Shade | -
a) | Interior & Exterior
12 | Earthing Bus
a) | Material | -
b) | Size | mm
13 | Cable entry | -
B | Bus bar
1 | Material | -
2 | Continuous current rating under design ambient temperature | Amps
C | MCCB/MCB
1 | Type
2 | Rated voltage | V
3 | No. of poles
4 | Short circuit breaking capacity | kA
D | Auxiliary contactor
1 | Rated voltage of coil | V
2 | Utilization category | -
E | Number of Incomer
1 | MCCB 125 A TP 35 kA with over current and earth fault protection | Nos
F | Number of outgoing MCB, 10 kA
4 pole
| 63 A | Nos
| 32 A | Nos
2 pole
| 32 A | Nos
| 16 A | Nos

## Battery Bank
GUARANTEED TECHNICAL PARTICULARS
BATTERY BANK
SL# | Description | Unit | To be filled up by Bidders
1 | Name of Manufacturer and country
2 | Applicable standards
3 | Battery type
4 | Rated voltage per cell | V
5 | Rated voltage of the battery | V
6 | Capacity at 10 hour rate of discharge at 27C
| Initial | AH
| Rated | AH
| End of life | AH
7 | Type of positive plates
8 | Battery capacity at following rates of discharge :
| 1 minute | AH
| 1 hour | AH
| 2 hours | AH
9 | Maximum momentary current | A
10 | Float charging voltage per cell | V
11 | Float charging current | A
12 | Boost charging voltage per cell | V
13 | Boost charging current | A
14 | Maximum time for boost charging | minutes
15 | Cell type
16 | Container type
17 | Overall dimensions of cell L x B x H) | mm
18 | Overall dimension of the battery (L x B x H) | mm
19 | Single/ Double tier
20 | Weight of complete battery | kg
22 | Expected life of battery | hours

## Battery Charger
GUARANTEED TECHNICAL PARTICULARS OF
BATTERY CHARGER
SL# | Description | Unit | To be filled up Bidders
1 | Name of manufacturer and country
2 | Applicable Standards
3 | Rated voltage | V
4 | Rated output | kW
5 | Overload capacity after operation for 10 hours at rated load
| For 1 minute | A
| For 2 hours | A
6 | Maximum charging current, battery charger is capable for
| Float charging | A
| Boost charging | A
7 | Boost charging voltage range | V
8 | Float charging voltage range | V
9 | Voltage regulation | %
10 | Charger efficiency at
| Rated load | %
| 50% load | %
11 | Power factor at
| Rated load | %
| 50% load | %
12 | Ripple Content at rated load
| with battery connected | %
| without battery connected | %
13 | Dimensions of battery charger (Lx B x H) | mm
14 | Total weight | kg
15 | Degree of protection of enclosure
16 | Colour Finish shade of Panel
Interior
Exterior
17 | Type and thickness of sheet steel (hot / cold rolled) Frame / Door / Covers | - / mm