## TPSD
Annnexure-I BOM for Transportations of tower, power, shelter and DEGs
[18 empty] | Local Transportation from Phuntsholing to Site(Option-1) |  |  |  |  | Local Transportation from Thimphu to Site (Option-2) |  |  |  |  | Erection & Installation |  |  |  |  | Total Cost | Total Cost
SN | Regions | PC | Site Name | Power system | Walking distance from nereast road without load | Distance from main road KM(Approx) | AC Power |  | Solar Power |  |  |  | DG Weight with tanks+earthing set(Kg) | Shelter with cable tray (Kg) | Tower (Kg) | Total Weight(Kg) | Tower Type | Tower | AC Power | Solar Power | DG | Shelter | Tower | AC Power | Solar Power | DG | Shelter | Tower | AC Power | Solar Power | Shelter | DG | From Pling | From Thimphu
[7 empty] | Power items ( rectifiers/AC/ventilations/AC-DC PDB/LPI/earthing including cables & accessories (Kg) | Battery with enclosure Weight (Kg) | Solar panels (Kg) | Solar 6 module mounting structures weight with AJBs(Kg) | Power items ( rectifiers/AC/ventilations/AC-DC PDB/LPI/19"rack/earthing including cables & accessories (Kg) | Battery with enclosure Weight (Kg)
1 | WR | Paro | Dotey Lhango | Non solar | Near by farm road | 12km from paro town | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 5600 | 9500 | 30mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | 0 | 0
2 | WR | Paro | Wanakha | Non solar | 10minutes walk from farm road | 55km from paro town | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 5600 | 9500 | 30mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | 0 | 0
3 | WR | Punakha | Phulungsum | Non solar | 5 minutes walk from farm road | 18KM approx from Khuruthang | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 3500 | 7400 | 20mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | 0 | 0
4 | WR | Thimphu | Chumdu Jangneb | Non solar | 30mins | 28KM approx from Thimphu | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 3500 | 7400 | 20mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | 0 | 0
5 | WR | Wangdue | Kazhi | Non solar | Road Point | 26KM approx from Wangdue | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | 0 | 0
6 | WR | Wangdue | Rukha | Non solar | 15 minutes walk from farm road | 60KM approx from Wangdue | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | 0 | 0
7 | WR | Wangdue | Phobjikha Upper (Tower replacement) | NA | 10mins | 63KM approx from Wangdue | NA | NA | NA | NA | NA | NA | NA | NA | 4250 | 4250 | 25mx3L | Yes | No | No | No | No | Yes | No | No | No | No | Yes | No | No | No | No | 0 | 0
8 | CR | Damphu | Tsakaling | Non solar+DEG | 45mins | 30Km from Damphu | 1100 | 1500 | NA | NA | NA | NA | 1100 | 1300 | 4250 | 9250 | 25mx3L | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | 0 | 0
9 | CR | Damphu | Damphu- Relangthang | Non solar+DEG | 45mins | 29Km from Damphu | 1100 | 1500 | NA | NA | NA | NA | 1100 | 1300 | 4250 | 9250 | 25mx3L | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | 0 | 0
10 | CR | Damphu | Sergethang | Non solar+DEG | 1hr | 45Km from Damphu | 1100 | 1500 | NA | NA | NA | NA | 1100 | 1300 | 4250 | 9250 | 25mx3L | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | 0 | 0
11 | CR | Damphu | Tsholingkhar | Non solar+DEG | 30min | 2Km from Damphu | 1100 | 1500 | NA | NA | NA | NA | 1100 | 1300 | 4250 | 9250 | 25mx3L | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | 0 | 0
12 | CR | Gelephu | Reti | Solar+BPC | 1hr30min | 84km From Gelephu Exchange (only 17km is peace road) | NA | NA | 660 | 560 | 1100 | 1500 | NA | 1300 | 4250 | 9370 | 25mx3L | Yes | No | Yes | No | Yes | Yes | No | Yes | No | Yes | Yes | No | Yes | Yes | No | 0 | 0
13 | CR | Gelephu | Edi | Non solar | 10min | 11Km From Gelephu Exchange | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
14 | CR | Sarpang | Singay | Non solar | 10min | 10Km From Sarpang Exchange | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
15 | CR | Trongsa | Nimshong (RS) | NA | 10min | 120Km from Trongsa Exchange | NA | NA | NA | NA | NA | NA | NA | NA | 4250 | 4250 | 25mx3L | Yes | No | No | No | No | Yes | No | No | No | No | Yes | No | No | No | No | 0 | 0
16 | CR | Trongsa | Jongthang | Non solar | 30min | 30Km from Trongsa Exchange | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
17 | CR | Trongsa | Danglagompa | Non solar | 30min | 50 Km from Trongsa Exchange | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
18 | CR | Zhemgang | Lungdurbi | Non solar | 15min | 115Km From Zhemgang Town | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
19 | CR | Zhemgang | Rebati/Danling | Non solar | 10mins | 16Km From Panbang Exchange | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
20 | CR | Zhemgang | Phangkhar/Malingpong | Non solar | 10mins | 10Km From Sarpang Exchange | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
21 | CR | Bumthang | Ura-Dozhi | Non solar | 30mins | 1 km from old high way Ura | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
22 | CR | Bumthang | Bebjor | Non solar | 40mins | 2.5 km from old high way Dungmithang | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
23 | CR | Trongsa | Dangdung | Non solar | 30mins | 40 Km from Trongsa Exchange | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
24 | CR | Bumthang | Aungsang (Tower replacement) | NA | 10mins | 2 km from high way Chummey | NA | NA | NA | NA | NA | NA | NA | NA | 7750 | 7750 | 35mx3L | Yes | No | No | No | No | Yes | No | No | No | No | Yes | No | No | No | No | 0 | 0
25 | CR | Bumthang | Tamshing (Tower relocation) | NA | 10mins | 9km from Chamkhar Town | NA | NA | NA | NA | NA | NA | NA | NA |  | 0 | 15m 4Legged NEC | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0 | 0
26 | CR | Zhemgang | Ngangla (Tower replacement) | NA | 10mins | 21Km from Panbang Exchange | NA | NA | NA | NA | NA | NA | NA | NA | 3500 | 3500 | 20mx3L | Yes | No | No | No | No | Yes | No | No | No | No | Yes | No | No | No | No | 0 | 0
27 | ER | Mongar | Baging (Yadi) | Non solar | 60mins | 20km from Drametse zero | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 5600 | 9500 | 30mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | Yes | 0 | 0
28 | ER | Mongar | Thalabang(Chali_Juk) | Solar | 30mins | 0.5km from Mongar-Lhuentse HW | NA | NA | 660 | 560 | 1100 | 1500 | 1200 | 1300 | 5600 | 11920 | 30mx3L | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | 0 | 0
29 | ER | Mongar | Sengore | Solar+DG | 30mins | 0.6km from Mongar- Bumthang HW | NA | NA | 660 | 560 | 1100 | 1500 | 1200 | 1300 | 3500 | 9820 | 20mx3L | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | 0 | 0
30 | ER | Mongar | Baypam(Sherichu_Nganglam) | Non solar | 60mins | 34km from Khentongmani | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 5600 | 9500 | 30mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
31 | ER | Pemagatshel | Nanong | Non solar+DG | 15 mins | 55km from Kherigonpa main road | 1100 | 1500 | NA | NA | NA | NA | 1200 | 1300 | 4250 | 9350 | 25mx3L | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | 0 | 0
32 | ER | SJK | Dezama Top_Nganglam | Non solar+DG | 60mins | 12km from Chokhorling GC road | 1100 | 1500 | NA | NA | NA | NA | 1100 | 1300 | 5600 | 10600 | 30mx3L | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | 0 | 0
33 | ER | SJK | Brongshing Top (Gomdhar) | Solar | 30mins | 15km from Gomdhar GC road | NA | NA | 790 | 675 | 1100 | 2400 | NA | 1300 | 5600 | 11865 | 30mx3L | Yes | No | Yes | No | Yes | Yes | No | Yes | No | Yes | Yes | No | Yes | Yes | Yes | 0 | 0
34 | ER | SJK | Resumo Top_ Nganglam | Non solar+DG | 5mins | 20km from Decheling GC road | 1100 | 1500 | NA | NA | NA | NA | 1100 | 1300 | 5600 | 10600 | 30mx3L | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | Yes | Yes | No | Yes | Yes | 0 | 0
35 | ER | Trashigang | Bargoenpa | Non solar | 60mins | 22km from Reserboo | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 5600 | 9500 | 30mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
36 | ER | Trashiyangtse | Gorlomzor | Non solar | 30mins | 10 KM from Tshering-Gom road point | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
37 | ER | Trashiyangtse | Zhung | Non solar | 25mins | 18 KM from the Doksum Zangpo-Zor Road Point | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
38 | ER | SamdrupJongkhar | Nganglam_Dewathang | Solar | 2 hrs | 44km from Nganglam Town | NA | NA | 790 | 675 | 1100 | 2400 | NA | 1300 | 5600 | 11865 | 30mx3L | Yes | No | Yes | No | Yes | Yes | No | Yes | No | Yes | Yes | No | Yes | Yes | No | 0 | 0
39 | ER | Trashiyangtse | Kheni (Tower Replacement) | Non solar | 10mins | 13 KM from Doksum Zangpozor Road point | 1100 | 1500 | NA | NA | NA | NA | NA | NA | 4250 | 6850 | 25mx3L | Yes | Yes | No | No | No | Yes | Yes | No | No | No | Yes | Yes | No | No | No | 0 | 0
40 | ER | Trashigang | Awangephu (Tower Replacement) | NA | 1hour | 17km from Kharungla | NA | NA | NA | NA | NA | NA | NA | NA | 3500 | 3500 | 20mx3L | Yes | No | No | No | No | Yes | No | No | No | No | Yes | No | No | No | No | 0 | 0
41 | ER | Trashigang | Dremtse exchange (Tower replacement) | NA | 15mins | 18km from Drametse zero | NA | NA | NA | NA | NA | NA | NA | NA | 5600 | 5600 | 30mx3L | Yes | No | No | No | No | Yes | No | No | No | No | Yes | No | No | No | No | 0 | 0
42 | ER | Trashigang | Yelchen (Shelter replacement) | NA | 10mins | 13km from Mukazor | NA | NA | NA | NA | NA | NA | NA | 1300 | NA | 1300 | NA | No | No | No | No | Yes | No | No | No | No | Yes | No | No | No | Yes | No | 0 | 0
43 | ER | S/Jongkhar | Monmola BTS (Tower replacement) | NA | 3 Hours | 31KM from jomotshangkha town | NA | NA | NA | NA | NA | NA | NA | NA | 5600 | 5600 | 30mx3L | Yes | No | No | No | No | Yes | No | No | No | No | Yes | No | No | No | No | 0 | 0
44 | SWR | Phuentsholing | Bangay/Upper Toorsa | Non solar | 20mins | 6km from Pling Exchange | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 4250 | 8150 | 25mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | 0 | 0
45 | SWR | Samtse | Tasim | Non solar | 45mins | 15km from Samtse | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 5600 | 9500 | 30mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | 0 | 0
46 | SWR | Samtse | Pungthra/Sektena | Non solar | 10mins | 87km from Samtse | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 5600 | 9500 | 30mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | 0 | 0
47 | SWR | Phuentsholing | Barsa top (Upper Pasakha) | Non solar | 20mins | 16km from Phuntsholing | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 5600 | 9500 | 30mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | 0 | 0
48 | SWR | Samtse | Changmari Town | Non solar | 20mins | 13km from Samtse | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 5600 | 9500 | 30mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | 0 | 0
49 | SWR | Samtse | Gatheya dara/depheling top | Non solar | 30mins | 35km from Samtse | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 5600 | 9500 | 30mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | 0 | 0
50 | SWR | Samtse | Sengden (Tower replacement) | NA | 20mins | 35km from Samtse | NA | NA | NA | NA | NA | NA | NA | NA | 4250 | 4250 | 25mx3L | Yes | No | No | No | No | Yes | No | No | No | No | Yes | No | No | No | No | 0 | 0
51 | SWR | Gedu | Semagangkha | Non solar | 20mins | 32km from Tsimasham Exchange | 1100 | 1500 | NA | NA | NA | NA | NA | 1300 | 3500 | 7400 | 20mx3L | Yes | Yes | No | No | Yes | Yes | Yes | No | No | Yes | Yes | No | No | Yes | No | 0 | 0
52 | SWR | Gedu | Meritsemo Top (Bongo) | Solar+BPC | 55mins | 15km from Gedu | NA | NA | 660 | 560 | 1100 | 1500 | NA | 1300 | 5600 | 10720 | 30mx3L | Yes | No | Yes | No | Yes | Yes | No | Yes | No | Yes | Yes | Yes | No | Yes | No | 0 | 0
53 | SWR | Samtse | Ugyentse | NA | Road Point | 20km from Samtse | NA | NA | NA | NA | NA | NA | NA | 1300 | NA | 1300 | NA | No | No | No | No | No | No | No | No | No | No | No | No | No | No | No | 0 | 0

## Monopole
SN | Regions | PC | Site Name | Headload | Tower | Tower Weight Kg (includes monopole & accessories) | Local Transportation from Phuntsholing to Site(Option-1) | Local Transportation from Thimphu to Site(Option-2)
1 | WR | Thimphu | Upper Langjophakha | Roadpoint | Monopole 15M | 1300
2 | WR | Thimphu | TTI Campus Wangchu Taba | Roadpoint | Monopole 15M | 1300
3 | WR | Thimphu | Yesipang | Roadpoint | Monopole 15M | 1300
4 | WR | Thimphu | Wangbama Central school | Roadpoint | Monopole 15M | 1300
5 | WR | Thimphu | Chamgang Gewong office | Roadpoint | Monopole 15M | 1300
6 | WR | Paro | Satsam | Roadpoint | Monopole 15M | 1300
7 | WR | Paro | Khangkhu | Roadpoint | Monopole 15M | 1300
8 | WR | Paro | Shaba | Roadpoint | Monopole 15M | 1300
9 | WR | Paro | Isuna | Roadpoint | Monopole 15M | 1300
10 | WR | Paro | Kodaphu | Roadpoint | Monopole 15M | 1300
11 | WR | Paro | Chang dungkha | Roadpoint | Monopole 15M | 1300
12 | WR | Paro | Taktshang | 2 Hours | Monopole 15M | 1300
13 | WR | Paro | Gongdingkha 1 (Naktsel area) | Roadpoint | Monopole 15M | 1300
14 | WR | Paro | Gongdingkha 2 (Dagophu area) | Roadpoint | Monopole 15M | 1300
15 | WR | Wangdue | Wonjukha | Roadpoint | Monopole 15M | 1300
16 | WR | Wangdue | Hospital (Rinchengang) | Roadpoint | Monopole 15M | 1300
17 | WR | Punakha | Khuruthang Town | Roadpoint | Monopole 15M | 1300
18 | WR | Punakha | Talo area | Roadpoint | Monopole 15M | 1300
19 | CR | Gelephu | Bhur | Roadpoint | Monopole 15M | 1300
20 | CR | Gelephu | Jigmeling RBP | Roadpoint | Monopole 15M | 1300
21 | CR | Gelephu | LAP II(as a replacement for Gasa Tsachu) | Roadpoint | Monopole 15M | 1300
22 | ER | Lhuentse | Autsho Town | Roadpoint | Monopole 15M | 1300
23 | ER | Lhuentse | Rowabi Goenpa | Roadpoint | Monopole 15M | 1300
24 | ER | Mongar | Gyelposhing BPC Colony | Roadpoint | Monopole 15M | 1300
25 | ER | SamdrupJongkhar | Deothang Army Colony | Roadpoint | Monopole 15M | 1300
26 | ER | SamdrupJongkhar | Samdrupjongkhar Town | Roadpoint | Monopole 15M | 1300
27 | ER | Trashigang | Rangjung TTI | Roadpoint | Monopole 15M | 1300
28 | ER | Trashigang | Merak | Roadpoint | Monopole 15M | 1300
29 | ER | Trashigang | Trashigang Town | Roadpoint | Monopole 15M | 1300
30 | SWR | Phuentsholing | BFAL/BCCL colony | Roadpoint | Monopole 15M | 1300
31 | SWR | Phuentsholing | Water Kingdom | Roadpoint | Monopole 15M | 1300
32 | SWR | Samtse | Peljoring | Roadpoint | Monopole 15M | 1300
33 | SWR | Gedu | BBPL | Roadpoint | Monopole 15M | 1300
34 | SWR | Samtse | Samtse Town | Roadpoint | Monopole 15M | 1300
35 | SWR | Samtse | Samtse Check Post | Roadpoint | Monopole 15M | 1300